Tool: Sheltering-in-Place Preparedness Checklist

The items on this checklist are not emergency-specific, so all items will not necessarily be applicable depending on the nature of the emergency.

| Date Completed | Item |
| --- | --- |
|  | Plan describing how three days of non-perishable meals are kept on hand for staff. The plan should include special diet requirements. |
|  | Plan describing how 72 hours of portable water is stored and available. |
|  | Plan identifying 72 hours of necessary medications that are stored at the facility and how necessary temperature control and security requirements will be met. |
|  | Plan to identify staff that will work during the event, any transportation requirements that staff might need, and how the facility will meet those needs. |
|  | Plan for an alternative power source to the facility such as an onsite generator and describe how 72 hours of fuel will be maintained and stored. |
|  | Alternate power source plan provides for necessary testing of the generator. |
|  | Plan describing how the facility will dispose of or store waste and biological waste until normal waste removal is restored. |
|  | Emergency Communications Plan, such as for cell phones, hand held radios, pagers, Blackberries, satellite phones, laptop computers for instant messaging, HAM radios. |
|  | Adequate planning considerations given to needs of staff. |