Tool: Response Checklist

Note that some actions are dependent upon the nature of the emergency.

| Date / Time Completed | Item |
| --- | --- |
|  | Condition of patients/residents being monitored continuously, particularly those with respiratory problems, and provide oxygen or suitable assistance. |
|  | Windows and exterior doors are closed. |
|  | Air intake vents and units in bathrooms, kitchen, laundry, and other rooms closed. |
|  | Heating, cooling, and ventilation systems that takes in outside air, both central and individual room units turned off. (Units that only re-circulate inside air may have to be kept running during very cold or very hot weather to avoid harm to patients/residents.) |
|  | Food, water, and medications covered and protected from airborne contamination and from contact with waste materials, including infectious waste. |
|  | Contact with emergency authorities regarding the hazard and internal conditions. |
|  | Contact public health authorities for advice regarding the need for decontamination, and the means for doing it. |
|  | Standby vehicles with pre-filled fuel tanks stationed on the highest point of ground nearby. (Flooding or high water) |
|  | Trained staff available who can remain at the facility for at least 72 hours, especially to manage non-ambulatory residents or others with additional needs. |
|  | Support teams available on standby with communications equipment in order to assist in getting additional supplies. |
|  | Medical equipment, medicines, refrigerators, stoves, food and water, supplies, beds, desks and chairs moved to a second floor location or raised off the floor to ensure protection against possible flooding. |