Tool: Organizational Facility Safety Checklist and Maintenance Calendar

Facility Safety Checklist

- Exits

- Marked and lighted?

- Free from obstructions?

- Any doors or passage ways locked?

- Plans existing for upper floor evacuation?

- Contingency plans for persons with mobility issues?

- Maps in strategic locations showing exits?

- Electrical and Gas Equipment

- Where are the breaker switches or fuse boxes? Are all breakers marked? Gas wrench?

- Are there clear, legible instructions on how to shut-off water and gas valves?

- Are switches and outlet boxes covered?

- Are electrical units grounded?

- Any circuits overloaded?

- Any equipment in use after hours? Where?

- Where is the gas main or meter shut-off valve?

- Miscellaneous

- Location of keys for all doors and buildings? Who has spare set of keys?

- Location of first-aid kit? Is it fully stocked? Who is responsible for maintaining it?

- Location of wheelchair and/or stretcher? Who is responsible for maintaining it?

- Location of battery operated radio? Who is responsible for maintaining it?

- Location of emergency water and food supply? Who is responsible for maintaining it?

- Firefighting Equipment

- Extinguishers fully charged, inspected, and tagged?

- Extinguishers appropriate for type of use?

- Staff trained on using extinguishers?

- Are fire alarms maintained and checked regularly?

- Are smoke detectors maintained and checked regularly?

- Chemicals

- Are there any combustible, toxic, or corrosive materials stored in the facility?

- Where? Are they stored correctly?

- Emergency Phone Numbers

- Is the list current and posted visibly from outside?

- Does the EMS and Fire Department know the different areas of your facility to enable them quick access?

- Emergency Medical

- First Aid supplies

- Automated External Defibrillator (AED)

- Cardiopulmonary Resuscitation (CPR)

Maintenance Calendar

Create a maintenance calendar to assist you with keeping your facility safe and prepared for emergencies.  You may consider scheduling some of your larger maintenance items (i.e. All- Hazard Plan review) when you have major changes in leadership if this happens on a regular basis.  The following are some sample items which should be reviewed regularly.  You can modify this list to meet the needs of your organization.

| Month | Item | Responsible Party | Date Completed |
| --- | --- | --- | --- |
| January | Sample: Review All-Hazard Plan and hold a communications exercise drill. | Emergency Preparedness Committee |  |
| February | Sample: Review list of staff trained in using AEDs and CPR. Train additional staff if needed. | Nurse/Health Committee |  |
| March | Sample: Check smoke detectors. | Facilities staff |  |
| April | Sample: Review plans for tornados during Severe Weather Week and hold a tornado drill. | Emergency Preparedness Committee |  |
| May | Sample: Ensure that clients are aware of appropriate mosquito repellant to prevent West Nile Virus. | Nurse/Health Committee |  |
| June | Sample: Inventory your Emergency Kit and replace outdated items. | Emergency Preparedness Committee |  |
| July | Sample: Ensure that clients are aware of hot weather precautions and have adequate sun protection during outdoor events. | Nurse/Health Committee |  |
| August | Sample: Hold child safety training for new volunteers. | Education Committee |  |
| September | Sample: Contact your Local Public Health Department for information on upcoming flu shot clinics in your community. | Nurse/Health Committee |  |
| October | Sample: Check smoke detectors. | Facilities staff |  |
| November | Sample: Ensure that snow and ice removal methods and materials are in place. | Facilities staff |  |
| December | Sample: Ensure that clients are aware of cold weather precautions and have adequate frost bite protection. | Nurse/Health Committee |  |